Number  24	October 2, 1996

Using Instance Names in InBatch

by Sean Brennan

Instances are one of Wonderware InBatch’s most powerful and flexible tools, yet they can be a little confusing.  Instances are useful because they allow the recipe writer to identify process equipment by assigning a name to it.  When a recipe uses only one piece of equipment from a process or transfer class, the issue with instances is largely avoided.  On the other hand, when a recipe uses several pieces of equipment from the same class, many users can get confused.  This Tech Note illustrates how instances are used and why they are an important tool in a flexible batch management system.

# A Real-Life Example of Using Instance Names

Imagine several balls are scattered around the floor of a room.  The balls are all different shapes, sizes and colors.  Let us say that you are asked to pick up a ball.  So you pick up a ball.  Now you are asked to kick a ball.  Would you kick the same ball you picked up?  Probably not.  What if instead, after you picked up a ball, you were asked to kick the ball?  Would you kick the ball you picked up?  Definitely!  What a difference that one little word makes.

When we say "a ball," we are referring to any member of the class "ball."  But when we say "the ball" we are referring to a specific member of that class, that is, an instance of that class.  The implication is that we are referring to the particular ball that you are holding.  In our first request, "pick up a ball," what we are really saying is something like this: "Select any one member of the class ‘ball,’ and pick up that particular ball.  From here forward we shall refer to that particular ball as ‘the ball.’"  When you pick up the ball, you automatically assign an instance name, "ball" to it!

InBatch does the same thing.  The recipe writer specifies, in the equipment requirements portion of the recipe, which classes of equipment are needed to execute the recipe procedure.  If only one member of a particular class is required, InBatch assigns a default instance name to the member which is the same as the class name.  For example, if you have a process class called "mixer" in your model, InBatch will assign the default instance name of "mixer" to a selected member of the class when the recipe executes.  Naming the item "mixer" by default is just like naming the ball that you picked up "the ball."

Instance names are important to InBatch recipes because InBatch recipes are equipment independent.  The recipe writer does not have to know which equipment will be selected when the recipe executes.  Instead, he or she may refer to that equipment with an instance name throughout their procedure and there will be no confusion.  An instance name is assigned to a particular unit or connection when it is selected during recipe execution.  The instance name continues to refer to the same unit or connection as long as that unit or connection remains allocated.  This is particularly important when using multiple instance names or when using the same instance name more than once in a procedure.

# Re-Using Instance Names

# To illustrate re-using instance names, let us go back to our example of the room full of balls.    Examine the following sequence of commands:

Step 1:     "Pick up a ball."

Step 2:     "Kick the ball."

Step 3:     "Pick up a ball."

Step 4:     "Kick the ball."

In steps 1 and 3, would you pick up the same ball?  Perhaps.  But, for argument’s sake, say that you picked up a different ball in steps 1 and 3.  As we have seen in the previous example, the ball you kicked in step 2 is the same ball that you picked up in step 1.  But what about the ball that you kicked in step 4?  Common sense says it is the same ball you picked up in step 3.  But why is it not the ball you kicked in step 2?  After all, both steps refer to the same instance name "the ball."  What happens between steps 2 and 4 to make "the ball" refer to a different ball?

The answer is step 3.  By saying "pick up a ball," the implication is that we are re-assigning the instance name "the ball" to a different ball.  We are releasing the ball we had used in the previous steps.  The same instance name, at different times, is referring to two different balls.

InBatch can also use the same instance name for two or more different units or connections in a class, as long as the first unit or connection is released before trying to re-assign the instance name.  If a recipe tries to assign the same instance name to two or more different units or connections in the same class at the same time, an error occurs.  This often happens when you try to add two or more bulk ingredients to the same unit at the same time.  InBatch can do this of course, but not with the same instance name for simultaneous transfers.  Simultaneous transfers must be done on different transfer instances with different instance names.

# Using Multiple Instances of the Same Class

When you use several pieces of equipment at the same time that are members of the same class, multiple instances must be used.  This applies for both units and connections.  InBatch handles this situation by allowing the recipe writer to create as many instances of each class that are needed and to assign names to them.

Instance names are similar to our situation with the room of balls.  If you picked up two balls and did different things with each, you might refer to them as "the first ball" and "the second ball" or "Ball 1" and "Ball 2."   With InBatch, suppose you have a reactor vessel and two bulk ingredients that are being added to it from different silos.  If the two silos are in the process class "BulkSilo," then we are going to need two BulkSilos for our recipe.  So we assign instance names "Bulk1" and "Bulk2" in the process class "BulkSilo." (See Fig. 1 for the InBatch Process Class Instance Editor.)

Figure 1.  Example Process Class Instance Editor

If we are transferring material from Bulk1 and Bulk2 simultaneously, then we also need two transfer instance names.  Say our reactor vessel is in a process class called "Reactor" and we have accepted the default instance name of "Reactor" for the one Reactor that we need in our recipe.  Then we need two transfer instance names for the transfer class from BulkSilo to Reactor.  One transfer instance, called "Xfer1," will be defined with a source instance of "Bulk1" and destination instance of "Reactor."  Then the other transfer instance, "Xfer2," will have a source instance of "Bulk2" and destination instance of "Reactor." (See Fig. 2 for the Example Transfer Class Instance Editor.)

Figure 2.  Example Transfer Class Instance Editor

It is important to remember that we are not identifying specific units in our model at this point.  We are merely giving names to the units and connections that our batch will select when it executes.  The InBatch batch engine selects units based on material assignments, allocation status, equipment status, attribute ranges, selection mode, and assigned units.

# Summary

InBatch is all about abstraction.  Abstraction is the process of taking different things and finding the "important" elements or properties of each in order to classify them.  Process classes are an abstraction of units while transfer classes are an abstraction of connections.  The concept of instances is a very vital part of understanding this abstraction.  Where abstraction allows you to take equipment and assign it to a class, instances allow you to take a class and identify a specific piece of equipment in the class.

Here are four rules to remember with InBatch instance names:

- An instance name identifies a specific unit or connection within a class.

- The instance name continues to refer to the same specific unit or connection within a recipe procedure for as long as that unit or connection remains allocated to the batch.

- Instance names may be re-assigned to other units or connections after the original instance (unit or connection) is released by the batch.

- If you are using more than one instance (unit or connection) of a class at the same time in the recipe procedure, then a different instance name must be used for each instance of the class that is being used simultaneously.

The Tech Note publication is published periodically by the Wonderware Technical Support group.  Editor: Mari Fujii;  Technical Publications Coordinator:  Sabrina Haag;  Director of  Technical Support: Sheila S. Tyler;  Publisher, Wonderware Corporation, 100 Technology Drive, Irvine CA 92618.  E-mail your questions or requests to techpubs@wonderware.com.

There is also technical information on the Wonderware software products on the Wonderware Bulletin Board Service at (714) 727-0726,  the Wonderware CompuServe forum (GO WONDER), and the Comprehensive Support Knowledge Base CD.  Call Wonderware Technical Support at (714) 727-3299 for more information on the BBS, the Wonderware CompuServe forum, or the Comprehensive Support Knowledge Base CD.

Copyright 1996 Wonderware Corporation.  All Rights Reserved.  Wonderware is a registered trademark of the Wonderware Corporation in the United States of America and/or other countries.

October 2, 1996  Number 24