Number  63	April 18, 1997

Using Microsoft Excel with IndustrialSQL Server
by John Eng and Chris Boutcher

Though there are many ways to input data into Microsoft® Excel™ for Windows, this Tech Note describes a procedure that best uses the features of Wonderware® IndustrialSQL Server™ Release 3.0 and later.

Excel connects to IndustrialSQL Server through the use of the Microsoft SQL Server ODBC driver.  Therefore, before you start up Excel, you must establish an ODBC connection to IndustrialSQL Server.  (See Chapter 2, “Installing ODBC” in the Wonderware IndustrialSQL Server Client Tools Guide for information on how to configure an ODBC connection on your computer.)

- Note  The procedure in this Tech Note describes how to have Excel call up Microsoft Query to build the SQL query statements and import the resulting data back into Excel.  By default, Microsoft Query is not automatically loaded as a data source with Excel.  Instead, you will need to first run the Setup program for Excel and configure Microsoft Query as a data source.

# Procedure

- Note  The screen shots shown in this procedure are from Microsoft Excel 97.  The menu selections may vary slightly from what is shown here if you are running a different version of Excel.

- Start up Excel and open either a new workbook or an existing one.  Begin your retrieval by selecting Get External Data from the Data menu, then Create New Query from the drop down menu as shown on the next page:

- This will start up Microsoft Query where you may either create a new SQL query statement or open an existing one.  The Select Data Source dialog box should appear:

- See Chapter 5, “Using MS Third-Party Query Tools” in the Wonderware IndustrialSQL Server Client Tools Guide for steps on adding a new data source if you don't already have one configured.

- 2)	Select IndustrialSQL Server from the Available Data Sources listbox as shown in the above example and click the Use button.  The SQL Server Login dialog box should appear as shown on the next page:

- Log onto IndustrialSQL Server by entering in your assigned userid and password.

- 3)	Create a new SQL query or open an existing one.  (See Chapter 5, “Using Third-Party Query Tools” in the Wonderware IndustrialSQL Server Client Tools Guide for more information on using Microsoft Query with IndustrialSQL Server.)

- Select Return data to Microsoft Excel from the Microsoft Query File menu to import the resulting data back into Excel:

- The Returning External Data to Microsoft Excel dialog box should appear:

- Make your desired selections and click the OK button.  Your queried data should now appear in your Excel spreadsheet.

- 4)	You may now use the External Data toolbar to edit and update your query and its results:

The Tech Note publication is published periodically by the Wonderware Technical Support group.  Editors: Mari Fujii and Sabrina Haag;  Technical Publications Coordinator: Sabrina Haag;  Director of  Technical Support: Sheila S. Kester;  Publisher, Wonderware Corporation, 100 Technology Drive, Irvine CA 92618.  E-mail your questions or requests to techpubs@wonderware.com.

There is also technical information on the Wonderware software products on the WonderTech Web site at http://wondertech.wonderware.com, the Wonderware Bulletin Board Service at (714) 727-0726,  the Wonderware CompuServe forum (GO WONDER), the Comprehensive Support Knowledge Base CD, and the WonderFax FaxBack® service at (714) 450-5050.  Call Wonderware Technical Support at (714) 727-3299 for more information on the WonderTech Web site, the BBS, the Wonderware CompuServe forum, the Comprehensive Support Knowledge Base CD or the WonderFax system.

Copyright 1997 Wonderware Corporation.  All Rights Reserved.  Wonderware is a registered trademark of the Wonderware Corporation in the United States of America and/or other countries.

April 18, 1997  Number 63