Number  68	June 9, 1997

Using Microsoft Access 97 to Perform a Pass-through Query with IndustrialSQL Server  by John Eng

Microsoft® Access 97™ can be used as a tool to perform pass-through queries against data stored in Wonderware® IndustrialSQL Server™.  Microsoft says the following about pass-through queries in their Microsoft Access on-line help:

“Use pass-through queries to send commands directly to an ODBC database server (such as Microsoft SQL Server).  You send the commands using the syntax required by the particular server.  With pass-through queries, you work directly with the tables on the server instead of attaching them.  Pass-through queries are useful for running stored procedures on an ODBC server.”

Since Microsoft Access uses the Microsoft SQL Server ODBC driver to connect to IndustrialSQL Server, you must establish an ODBC connection to IndustrialSQL Server before you start Microsoft Access (See Chapter 2, “Installing ODBC,” in the Wonderware IndustrialSQL Server Client Tools Guide for information on how to configure an ODBC connection on your computer.).

# Procedure

- Start Microsoft Access and then select New Database from the File menu.  Click Blank Database and then click OK.

- Enter a name for the new database, such as “Test,” then click the Create button.

- Click the Queries tab, then click the New button.

- In the New Query dialog box, select Design View, then click OK.

- Access should now appear similar to this:

- Click the Close button in the Show Table dialog box.  Next, select SQL in the View menu.  Enter a simple query, such as the following:

Set wwResolution 3600000

SELECT Tagname, Value, DateTime

from AnalogHistory

WHERE DateTime > 'Apr 15 1997 11:00'

and DateTime < GetDate()

and Tagname = 'ReactLevel'

- Next, select Query/SQL Specific/ Pass-Through.

- To execute the query, select Run from the Query menu.

- In the Select Data Source dialog box, select the ODBC connection that you established prior to starting this Tech Note.

- Next, log onto IndustrialSQL Server:

- Your query results should now appear.

The Tech Note publication is published periodically by the Wonderware Technical Support group.  Editors: Mari Fujii and Sabrina Haag;  Technical Publications Coordinator: Sabrina Haag;  Director of  Technical Support: Sheila S. Kester;  Publisher, Wonderware Corporation, 100 Technology Drive, Irvine CA 92618.  E-mail your questions or requests to techpubs@wonderware.com.

There is also technical information on the Wonderware software products on the WonderTech Web site at http://wondertech.wonderware.com, the Wonderware Bulletin Board Service at (714) 727-0726,  the Wonderware CompuServe forum (GO WONDER), the Comprehensive Support Knowledge Base CD, and the WonderFax FaxBack® service at (714) 450-5050.  Call Wonderware Technical Support at (714) 727-3299 for more information on the WonderTech Web site, the BBS, the Wonderware CompuServe forum, the Comprehensive Support Knowledge Base CD or the WonderFax system.

Copyright 1997 Wonderware Corporation.  All Rights Reserved.  Wonderware is a registered trademark of the Wonderware Corporation in the United States of America and/or other countries.                                                 June 9, 1997  Number 68